## Sheet1
Name | Description
Fault Indication | A fault indication is a message emitted by a node indicating that a reportable event has occurred. Fault indications may be delivered to BPUAA in several formats. the most com-mon are: TL1 Autonomous messages, SNMP TRAPs and ASCII text messages.
Event record | An event is an object created by BPUAA to represent a fault indication. Events represent the raise or clearing of conditions on the node. BPUAA uses events to consolidate vendor and protocol specific fault indications into a common format.
Standing condition | A standing condition is one that remains in effect until explicitly cleared.
Alarm | Another name for the standing condition.
Transient condition | A transient condition is one that is, by design, never cleared. An example of this is system heartbeat messages. Transient conditions are not normally considered alarms.
De–duplication | De–duplication is the process by which multiple instances of identical alarms are con-solidated into a single event record. Only events that are truly redundant are consolidated in this manner. De–duplication prevents the same alarm from being entered twice in the Event History or Active Alarm lists.
Deferment | When an alarm is deferred, BPUAA removes it from the active alarm list. Alarms may be deferred for a defined period. The deferment is temporary: a deferred alarm will re–appear after its deferment period has expired. You can view all the deferred alarms by selecting the All Alarms check box.
Priority | The priority of an alarm is determined by NOC personnel defined priorities are - Low Normal High Urgent Priority may be used to organize alarms into categories based on the importance of the alarm. Priorities may be assigned or changed manually by NOC personnel or automatically by BPUAA’s workflow engine.
Severity | The severity of an alarm is determined by the node and represents the node’s assessment of the importance of the alarm. BPUAA may be configured to reassign severity.
Alarm Source | The alarm source is the entity that is raising the alarm. It is usually an equipment or facility identifier. In the case of TL1, the Aid is the alarm source.
Network Alarm | A network alarm is one that is reported by a node.
Security Alarm or Sys-tem Alarm | A security or system alarm is a standing condition generated by BPUAA. these alarms are raised by BPUAA’s security module to report system conditions such as user lockouts due to excessive invalid login attempts or problems with database operations such as a backup failure.
End Point | An End Point is an internal object that represents an alarm source. It is used by BPUAA to associate the alarm source with a service.
Service | A service is an abstract alarm source, defined by a collection of end points against which service alarms may be raised. the primary purpose of service definitions is to organize and consolidate network alarms.
Manual Clear | An operator may manually clear an alarm, removing it from the alarm database. BPUAA handles manual clears identically to ones received from a node. Manually cleared alarms that are still standing on the node may be raised again if the node re-sends the fault indic-ation or if the node is resynchronized.
Suppression | Alarm suppression is the act of hiding network and service alarms from the operator’s view. Alarm suppression is used to remove symptomatic alarms from the active and service alarm lists to more clearly reveal the root cause(s) of network problems. Suppressed alarms are not removed from the alarm database; they are merely hidden from view and may be restored using the Show: suppressed control. Alarm suppression is described in detail in Alarm Suppression Policies under Service.
Alarm thresholds | Alarm thresholds are used to soak and the–bounce network alarms. BPUAA supports both raise and clear thresholds. thresholds are fine grained; they may be tailored to individual end points. Alarm thresholds are described in detail in Alarm threshold Policies.
Alarm Ownership | Network alarms may be owned by a user or user–group. Once alarm ownership is estab-lished, further operations may be limited to the owning user or group. Alarm ownership may be assigned explicitly or implicitly. An explicit assignment is made using the GUI, while an implicit assignment automatically occurs when an alarm is modified by a user. When an alarm is modified in any way, BPUAA checks to see if the alarm has an owner. If not, own-ership is automatically assigned to the current user id. Alarm ownership may also be assigned automatically by BPUAA’s workflow engine.