## Sheet1
Column Name | Description
Operating Frequency | Displays the frequency at which the cable streams operate. Operating frequency is measured in terms of MHz.
Operational State | Operation state retrieved from a end point, SNMP or TL1.
Override Association | Displays if override LAG association is enabled (true) or disabled (false)
Override Parent | Displays if override parent is enabled (true) or disabled (false)
Parent | Parent column is an endpoint where it displays the parent endpoint name. Here the parent and child endpoint has physical links between them. For Example: If you have endpoints like chassis and fan for the network element, for the fan endpoint in UI the chassis endpoint will be the parent.
Performance Monitoring Template | Displays the name of the performance monitoring template assigned to the end point.
Performance Monitoring Template Id | Displays the id of the performance monitoring template assigned to the end point.
Service | End points can be assigned to a service. If so, the name of the service appears here.
Source | The common name for the entity that is the subject of alarm. The source contains at least the node name, and will usually also include an equipment or facility identifier.
Source Id | TL1 facility Access identifier (Aid) or SNMP Object identifier (Oid).
Source Index | SNMP table index.
Source Type | This value matches what the node will report as the alarm source when any alarms are raised against the end point. The source is normally an equipment or facility identifier. For example, OC48–1, ifIndex. 34, FAN–1 are examples of sources. The source and node are used by BPUAA to match a network alarm with the correct end point.
Source Type ID | Facility type description, for example: GIGE or OC48.
Speed | Interface data rate in Bits Per Second (bps).
Subnet mask | The subnet mask, when combined with the IP Address, defines the subnetwork to scan.
Type | End point type information retrieved from the monitored node.
VLAN | VLAN ID, if single VLAN is associated with EP, VLAN ID gets populated here. A VLAN connects multiple devices and network nodes from different LANs into one network.
VLANs | VLAN IDs, if multiple VLANs are associated with same EP, list of VLAN IDs gets populated here. Displays the list of Virtual LANs to which Endpoint is associated to. End Points -Column Description