## Sheet1
Field | Description
Alarm scan frequency | Specify the alarm scan frequency. The system will scan all the network alarms in the specified frequency and if there is any change, it will be updated in the Network Alarms page. The default value is 1 second.
Correlation scan frequency | For every 60 seconds, the system scans the available alarm correlation policies against the active alarm lists. You can change the value of this field. The default correlation scan frequency is 60 seconds.
Service Impact Analysis Executor Threads | Number of threads required to calculate the service impact analysis. By default 3 threads will be running to calculate the service impact analysis. You can edit the value in the spin box if you wish to increase or decrease the number of threads.
Calculate alarm duration using | Alarm duration can be calculated based on - Received Time (Default): Alarm's duration will be calculated based on 'Received time' time of alarm and when the alarm gets cleared, 'cleared time' will get set to received time Raised Time when available: Alarm's duration will be calculated based on the alarm's 'raised time' if it is available. If 'raised time' is empty 'duration' will be calculated based on 'Received time' of alarm and when the alarm gets cleared, 'cleared time' will get set to clear trap's 'raised time' if available else , 'cleared time' will get set to received time.
Some times a clear trap reports the 'raised time' of it's corresponding raise trap i.e., clear trap's raised time and raise trap's raised time will be equal. In this case when the alarm gets cleared its 'cleared time' will get set to current time.
Enable root cause analysis | This check box when enabled, applies root cause analysis on alarms. When you select this check box, the RCA Scan Period field is enabled. This check box is disabled by default. See Root Cause Analysis for more information.
RCA Scan Period | This field is enabled when Enable root cause analysis check box is selected. The default scan period is set to 1 second. Enter the RCA Scan Period in seconds. The RCA will be executed periodically as per the period specified and all alarms raised with in that time frame will be scanned for RCA.